Description

22U network rack enclosures stand out as the preferred choice for floor installations, boasting a robust structure capable of supporting static loads of up to 1700 lbs.

Heavy-duty casters are included to ensure easy and flexible movement. Optional adjustable leveling feet are available to enhance stability and fixation. The quick-open side panels enhance installation and maintenance efficiency, facilitating seamless access to your equipment.

Choose from multiple sizes to accommodate varying equipment space requirements, with the option for customization to meet specific needs.

Features

- Both top and bottom cable entries enhance installation flexibility, accommodating various cable configurations.

- Can be shipped disassembled, reducing transportation and storage costs for added efficiency.

- Offers multiple front and rear door styles (optional), providing customization options to suit specific needs.

General Specification

Material                High Quality SPCC

Material Thickness        Rails 2 mm, Other 1-1.2 mm

Finish                  Power Coating

Color                   RAL7035, Gray

Width                  600 mm

Depth                  600 mm

Height                  22U
Rack Mount              19”

Access                  Front Door/Rear Door/Side Panels

Locking Mechanism        Single Point Locking

Static Loading Capacity     800 kgs/1700 lbs.

Included Accessories       4xCasters, Grounding kits, M6 Screws & Nuts, Keys

Optional Accessories       Fans, Shelves, PDU, Blank Panels

Ordering Information

| Part No. | Description |
| --- | --- |
| NSJ6622BP1 | 22U Network Rack Cabinet, 600x600mm, Standard Glass Front Door, Solid Metal Rear Door, Gray |